## Instructions
GUIDELINES FOR COMPLETING THE REQUIREMENTS SPECIFICATION
The Contracting Authority's requirements are described in the other sheet tabs in this worksheet. It explains how the requirement specification table should be understood and completed. The Supplier should only write in fields with a yellow background.
Column | Description
Requirement ID | Requirement number, F: Functional, NF: Non functional, SS: Service&Support, T: Technical, A: Administrative, L: legal
Area | The primary area of a requirement, ex. Technical or Functional.
Subarea | Secondary area of the requrement, ex. Drug administration, Order/Entry or Hosting. Some Secondary areas can be described in an appendix
User story ID# | Reference to relevant user stories to secure traceability. If not relevant leave blank
Negotiation | This is marked Yes, if the Contracting Authority has put it on the negotiations list and wants to discuss the requirements in the first dialogue meeting.
Type | Type of the requirement
Minimum (M) requirements are requirements that must be met in order for the offer to be considered to satisfy the requirement specification. If a minimum requirement is not met, the offer will or may be rejected. Information from the dialogue phase and/or the Supplier's response to minimum requirements will form the basis for the Contracting Authority's assessment and conclusion. Minimum requirements are marked as "grey" in the "Weight" column.
Evaluation requirements (E) are requirements that will be subject to evaluation. Information from the dialogue phase and/or the Supplier's response to evaluation requirements will form the basis for the Contracting Authority's evaluation and grading. Evaluation requirements are marked as 1-5 in the "Importance" column. 5 (High) represents requirements of the highest importance that will be given more value than 1 (Low) requirements.
Requirement specification | Requirement specification is where the requirement is described. There might be additional information in an appendix.
Weight | The importance of the requirement stated between 1 (low) to 5 (high). Each requirement evaluated will receive an evaluation between 1-8 which is multiplied with the importance to get the final fullfillment grade.
Fulfilment to be confirmed (C) or described (D) | This column will state whether the requirement needs a confirmation as response only - "C", or if the requirement needs a descriptive response - "D".
When functionality/requirement is fulfilled, partly or not | The Supplier states the fulfilment of the requirement as (use Yes/No). Only mark one column (I, J, K)
Answer from vendor | In this column, the vendor shall answer the requirements. For requirements marked "C", leave this section blank For requirements marked "D", the reply shall contain sufficient information to enable the Contracting Authority to carry out a complete evaluation of the requirement fulfilment. If the Supplier needs to provide more details, separate attachments may be referred to (ex. See attachment xx). The attachment name must clearly reference the primary area where it belongs and clearly outline the requirement it adresses

## Requirements
FO Requirements
Only mark one column (I, J, K)
Requirement ID | Primary area | Appendix supported | Negotiation | Type (M, E) | Requirement specification | Weight 1:Low, 5:high | Fulfilment to be confirmed (C) or described (D) | Requirement fulfilled entirely | Requirement partly fulfilled | Requirement can not be fulfilled | Answer from supplier (Only to be filled if requirement is to be Described (D))
1 | Administrative | 1 | Yes | E | The supplier must comply with Appendix 1 | 5 | C
2 | Timeschedule | 1 | yes | E | The Supplier must submit an Overall Schedule with graphical representation (Level 2 schedule) for all phases in the programme. | 4 | D
3 | Timeschedule | 1 | yes | E | If the Overall Schedule (Level 2 schedule) results in a Partial Delivery 2 or more or a duration longer than 24 months, the Supplier must justify that this is necessary and represents a realistic and robust schedule. | 5 | D
4 | Timeschedule | 1 | yes | E | The Supplier must submit a detailed Schedule (Level 3 schedule) for all phases in the programme. | 4 | D
5 | Timeschedule | 1 | yes | E | The Supplier must propose how production loss at hospital units as a result of implementing the Solution can be avoided or minimized. | 3 | D
6 | Implementation | 1 | yes | E | The Supplier must describe the content of the main phases listed in Table 1 (appendix 1), Milestone Plan (Level 1 schedule), as well as the division of these phases into management stages and identify a sequence for Go-Live. | 3 | D
7 | Implementation | 1 | yes | E | The Supplier must provide a detailed description of the methods used to support full implementation of the Solution: - A shared project site or similar where updated documentation can be shared and accessed. - A demonstration environment for the Solution that can be used for demonstrations, training, and configuration/setup until the Client’s own environments are established, where required by the Supplier’s schedules. | 3 | D
8 | Implementation | 1 | yes | E | The Supplier must describe the tracks, focus areas, sub-programmes, and projects that the Supplier considers necessary for delivery of the Solution. - The description of the programme organization must be sufficiently precise to enable timely staffing. - For each track/project, the Supplier must also describe the main tasks for the employee types | 3 | D
9 | Implementation | 1 | yes | E | The Supplier must describe how it will facilitate clarification and consensus on a detailed solution design for the Solution during the Preparation Phase among representatives from the clients organization, ensuring that the Solution aligns with user practices, including clinical specialties. Eg. Clinical workshops, configuration workshops to ensure user involvement. | 4 | D
10 | Training | 1 | yes | E | The Supplier must describe how the training program during the implementation phase will be conducted to ensure that super users, end users, and other stakeholders acquire the necessary knowledge for the new solution to be implemented. This includes providing a list of who will be trained and when to meet the timelines, which tools will be used, and how normal operations will be maintained to ensure continuity during implementation. | 4 | D
11 | Hyper-care | 1 | yes | E | The Supplier must, based on its support offering in Appendix 5, describe the hyper-care period including access to special support during the Go-Live Phase in connection with Go-Live (appendix 1), ensuring that support during the Go-Live Phase supports implementation of the Solution according to the schedules established by the Supplier. The supplier must include the need for on-site hyper-care. | 4 | D
12 | Infrastructure & Hosting | 2 | Yes | E | The Supplier may propose hosting the Solution within: 1. The Client's HEILSUNET on-premises environment located at the hospital or, 2. A Supplier-hosted or third-party hosted environment located in the Faroe Islands or, 3. As a SaaS model The hosting model must meet the following conditions: 1. The majority of the solution and its data must be stored, processed and located in the Faroe Islands, where parts but not all of the solution can be delivered as a SaaS model 2. The Solution must be fully connected and integrated with the HEILSUNET network (see requirement 13) The Supplier must describe the complete hosting architecture for the proposed solution, including any additional modules or sub-systems, integrations with external SaaS solutions, and responsibilities for infrastructure, platform, security, backup, monitoring, and operations. All elements must align with HEILSUNET standards and Service Objectives (Appendix 7). Any hybrid hosting model must clearly identify which components are hosted where, including, but not limited to, data flows, security controls, and operational responsibilities. | 5 | D
13 | Infrastructure & Hosting | 2 | No | M | Regardless of whether the Solution is hosted on the Client’s on-premises infrastructure or in a Supplier-hosted or third-party environment located in the Faroe Islands, the Solution must be connected to and operate fully within the logical HEILSUNET network. If the Supplier proposes hosting the Solution outside the Client’s data centre, the Supplier must confirm that all applicable requirements in this specification (Appendix 3) are fully met under the proposed hosting model, and describe how the model fulfils the requirements across the following areas (Appendix 3, column B): • Infrastructure & Hosting • Active Directory & User Management • Business Continuity & Disaster Recovery • Data Management • Device Management • Monitoring & Logging • Security • System Management • Technical Solution Design The Supplier must ensure that the proposed hosting model provides equivalent or superior functionality, security, availability, performance, and operational control compared to a Solution hosted at the hospital. Any integrations with external cloud SaaS solutions, additional components, architectural changes, or operational responsibilities required as a consequence of hosting outside the hospital location must be clearly described and justified, including alignment with HEILSUNET standards and Service Objectives (Appendix 7). | 5 | C
14 | Infrastructure & Hosting | 2 | Yes | E | The Supplier must provide a single, consolidated Bill of Materials (BOM) covering all infrastructure, platform, database, and system management components and licenses required by the Solution, so that these can be purchased and operated by a future operations supplier under the Service Objectives in Appendix 7 set for the Solution. The consolidated BOM must consider at least: • Backup solution (software, agents, licenses) • Storage components and licenses • Network components and licenses • Certificates and encryption mechanisms (software, licenses) • Server platform components and licenses • Operating system licenses • Patch management licenses • System Management licenses and components • Database server environments and DBMS licenses • Any other infrastructure or platform elements required to meet the hosting requirement (12) and the Service Objectives in Appendix 7 The BOM must: • reflect all sizing, scaling, resilience, and dimensioning requirements for Appendix 7, • enable procurement and operation by a future operations supplier, • be included as an attachment in the Supplier’s response and pricing basis Any additional infrastructure, systems, access, or operational capabilities beyond Appendix 2 must be declared under Requirement 18. | 4 | C
15 | Infrastructure & Hosting | 2 | No | E | The Supplier must ensure that the Solution is fully compatible with the Client’s IT environment as described in Appendix 2. At a minimum, the following requirements apply: Network compatibility: Operation within HEILSUNET’s network architecture (three‑layer campus design, ISE‑based access controls), without introducing vendor‑specific VLANs, and full support for existing MPLS and VPN L2L IPsec connections. Platform compatibility: Use of supported Microsoft Windows Server and/or Enterprise Linux versions; Windows endpoints must join Active Directory, receive DHCP‑assigned IPs, and comply with central management and configuration standards. Operational alignment: Support for the Client’s current Windows endpoint configuration standards and adherence to established service windows and emergency update procedures. | 5 | C
16 | Infrastructure & Hosting | 2 | No | E | If Solution's OS does not support Windows Defender, the provider must suggest an alternative antivirus. | 2 | C
17 | Infrastructure & Hosting | 2 | Yes | E | The Supplier must provide requirements and specifications for how the Solution can be implemented in the current data center environment within the Client's existing infrastructure. These documents will be discussed in the clarification phase. | 2 | C
18 | Infrastructure & Hosting | 2 | Yes | E | The Supplier must identify and describe any additional infrastructure, systems, access, or operational capabilities required by the Solution beyond the Client’s existing environment as described in Appendix 2. These documents will be discussed in the clarification phase. | 2 | C
19 | Infrastructure & Hosting | 2 | Yes | E | The Supplier must provide documentation and specifications for how the Solution is to be implemented, configured, operated, and maintained by a future operations supplier. This documentation must, at a minimum, include: Operating system implementation requirements How the Solution’s OS requirements are deployed on the Client’s server platform, including both physical and virtual environments, and any dependencies on the underlying hosting layer or virtualisation mechanisms. Operating system configuration standards The required OS configuration settings, services, security baselines, and any Solution‑specific parameters that must be applied by a future operations supplier. Platform and virtualisation architecture How the Solution is installed, scaled, and operated on the Client's server platform, including virtualisation components, resource allocations, and the interaction between the Solution’s application layer and the underlying hosting layer. Patch management processes Requirements and procedures for implementing and maintaining patch levels, including any Solution‑specific sequencing, restart considerations, and monitoring expectations. Third‑party component lifecycle management All requirements to ensure that third‑party components recommended or required by the Supplier are not end‑of‑life or end‑of‑support, and how a future operations supplier must maintain compliance over time. | 2 | C
20 | Infrastructure & Hosting | 2 | Yes | E | The Supplier (together with the client and hostings partner) must prepare roadmaps for the overall operating infrastructure every year and update recommendations for replacement plans for the overall infrastructure relating to the new solution | 3 | C
21 | Infrastructure & Hosting | 2 | Yes | E | The Supplier must ensure that the Operating Platform is designed and dimensioned to meet the guaranteed Service Levels defined in Appendix 7 for a minimum period of five (5) years. The Solution must: • Support expected growth in users, citizens, data volumes, and transactions for the next 5 years. • Scale beyond the minimum baseline capacity, including clear documentation of technical and practical limits for horizontal and vertical expansion. • Avoid dependency on individual physical devices, ensuring that no component of the Solution is constrained by the capacity of a single server, network card, storage controller, HBA, SAN node, or equivalent. • Scale in accordance with the current and projected demographic profile of the Client’s internal users and the Faroese population. | 4 | C
22 | Infrastructure & Hosting | 2 | Yes | E | The Supplier must define the requirements, methods, and processes that a future operations supplier must follow to ensure stable, compliant, and transparent operation of the Solution. This must include: • Collection of performance and capacity data across all infrastructure components, including end to end visibility across servers, SAN, WAN, LAN, virtualisation, and client layers • Reporting processes when end user response times are not met, including the required level of detail and recommended escalation flows • Trend analysis and reporting of load development over time (servers, storage, networks, clients), including thresholds for proactive actions • Operational processes ensuring stable service even when redundant infrastructure components experience failures, in accordance with the Service Levels in Appendix 7 • Prioritisation mechanisms for business critical functionality during degraded or constraint limited operations, aligned with the Service Level Objectives of Appendix 7 | 3 | C
23 | Infrastructure & Hosting | 2 | Yes | E | The Supplier must provide specifications for how the Solution's backup structure can be built and implemented in practice. Including specifications and any requirements for server set-up, sizing, OS and backup nodes as well as backup management and monitoring of backup processes and routines. It must be possible to perform backups without affecting the Solution's established Service Objectives described in Appendix 7. | 3 | C
24 | Infrastructure & Hosting | 2 | Yes | E | The Supplier must provide specifications for a recommended strategy and procedures for backup and system recovery, including the prerequisites for a complete system recovery under the service objectives described in Appendix 7 set for the Solution. | 4 | D
25 | Infrastructure & Hosting | 2 | No | E | The solution must support integration with Veeam Enterprise Backup or provide equivalent backup interoperability. | 3 | C
26 | Active Directory & User Management | 2 | Yes | E | The Supplier must describe how identity management, authentication, and access to the Solution are designed, implemented, and operated. This must include at least: • Integration with HEILSUNET Active Directory as the primary identity authority, using a common HEILSUNET ID • Support for access from multiple AD domains or equivalent identity providers, including Heilsunet, Landsnet, and Citrix-hosted environments • Single Sign-On (SSO) for internal users using AD • Support for special/shared user accounts, including security controls and auditability • Support for national identity solutions (e.g. Samleikan / Web SSO, SAML, OIOSAML), including constraints, prerequisites, and integration options • Support for external users, such as application vendors The description must be sufficiently detailed to allow the Solution to be operated by a future operational supplier under the Service Objectives in Appendix 7. | 4 | D
27 | Active Directory & User Management | 2 | Yes | E | The Solution must support role-based access control (RBAC) integrated with the Client's AD. This must include: • How a single user account, per person, can be assigned to multiple roles, with different permissions • How access rights are evaluated, enforced and restricted, based on active role • How such roles can be defined, configured, and maintained • No local administrator rights permitted for end users The Supplier must support the Client during the clarification phase in designing the required permissions and RBAC model for implementation of the Solution. | 4 | C
28 | Business Continuity & Disaster Recovery | 2 | Yes | E | The Supplier must outline a proposed approach for Business Continuity and Disaster Recovery procedures and testing. The approach must: • describe how runbooks, roles, and communication will be developed jointly with the Client • propose a simple, collaborative testing plan, with final details to be agreed during the Clarification Phase | 4 | D
29 | Business Continuity & Disaster Recovery | 2 | No | E | The Supplier must describe how the Solution behaves during local major incidents or disruptions to services such as Active Directory, database access, or internal application services. The description must include: • which clinical functions remain available (e.g. what can be searched, accessed and printed, including PTAL number, or parts thereof) • how user sessions are maintained • how any temporarily queued actions are safely handled, logged, and applied when normal service resumes, including expected maximum delay in applying updates • how critical patient data remains accurate and consistent during and after major incidents | 4 | D
30 | Business Continuity & Disaster Recovery | 2 | No | E | The Supplier must confirm that the Solution runs without interruption on the Client’s dual datacentre architecture described in Appendix 2, including automatic failover and failback of compute, storage, and network components. | 4 | C
31 | Business Continuity & Disaster Recovery | 2 | No | E | The Supplier must describe how user activities are logged and auditable, and how this approach is aligned with the Suppliers own BC/DR model in the event the Solution is unavailable or operating in an alternative/offline mode for health care professionals. | 3 | D
32 | Business Continuity & Disaster Recovery | 2 | Yes | E | The Supplier must describe how the Solution operates when the Client temporarily loses external network connectivity (e.g. subsea cable outage). The description must include: • which Solution components continue to operate locally; • which integrations stop working and how this is communicated to users • how data created locally is synchronised once connectivity is restored • how authentication works if external identity services are unavailable. | 4 | C
33 | Data Management | 2 | Yes | E | The Supplier must provide specifications for how the Solution can be built and implemented on a database server architecture in practice. This includes the Supplier providing specifications and requirements for server hardware, sizing, OS and SAN environments as well as DBA management and monitoring of the database environments. These documents will be discussed in the clarification phase. | 3 | C
34 | Data Management | 2 | Yes | E | The Supplier must provide specifications for how the Solution is distributed across physical server set-ups and virtualized server set-ups, respectively. The description must justify the choice of set-up, taking into account established Service Goals documented in Appendix 7. These documents will be discussed in the clarification phase. | 3 | C
35 | Data Management | 2 | Yes | E | The supplier must provide specifications for how the Solution's requirements for Database Management System (DBMS) are implemented on the Solution's database server platform in practice. This can be on physical hardware as well as in virtualized environments. These documents will be discussed in the clarification phase. | 3 | C
36 | Data Management | 2 | No | E | The Supplier must provide specifications for how the Solution's requirements for DBMS configurations are configured by a future operations supplier on the offered Solution. These documents will be discussed in the clarification phase. | 3 | C
37 | Data Management | 2 | Yes | E | The supplier must describe the requirements for the total number and types of environments that a future operations supplier must establish in connection with testing, pre-production and training. The requirements must support implementation of the Solution according to the schedules set out by the Supplier in Appendix 1. (Excluding production environment) | 3 | D
38 | Data Management | 2 | Yes | E | The supplier must describe the methods and processes that ensure that data is anonymized in connection with testing, training and extraction for research. The Supplier must also describe the requirements placed on a future operations supplier in connection with the maintenance of data in test, pre-production and training environments, respectively, so that testing and training can be carried out multiple times. (Excluding Production Environment) | 3 | D
39 | Data Management | 2 | Yes | E | The supplier must describe the requirements for methods and processes that are set for a future operations supplier with the aim of ensuring that application versions and basic software are the same across all established environments, and how a future operations supplier can reset application versions and data as needed, particularly for training environments (Excluding Production Environment) | 3 | D
40 | Data Management | 2 | Yes | E | The Supplier must describe the resources (number and type) and competency requirements placed on a future operations supplier for establishing, resetting, and maintaining environments, the expected timeframes for these tasks, the Supplier’s approval process and criteria for each environment type, and the software and configuration requirements for training workstations (Excluding Production Environment) | 3 | D
41 | Data Management | 2 | Yes | E | The Supplier must describe how a future operations supplier must: Ensure that the same security requirements are met in the test, pre‑production, and training environments as in the production environment. Establish and maintain the same integrations to other systems in test, pre‑production, and training environments as those defined for the production environment. Ensure that test, pre‑production, and training environments contain representative datasets of production‑equivalent scale and characteristics, sufficient to support realistic functional and performance testing. This does not require copying production data or using identical data sets, only that the non‑production environments support production‑like behaviour and workload. | 3 | D
42 | Device Management | 2 | No | E | The Supplier must describe all aspects of the Solution’s use on mobile and tablet devices, including: Supported functionality • What parts of the Solution can be used on mobile/tablet devices • What functionality is available specifically for clinical personnel Supported devices and lifecycle management • Which mobile devices are supported • How new devices are validated and added • How older devices are phased out when no longer supported Device management and security • Integration with the Client’s chosen EMM/MDM solutions (Omnissa Workspace One or Microsoft Intune), see Appendix 2 • Whether any devices require management in a separate EMM/MDM solution • How devices authenticate and access external services or applications • How devices connect when used remotely or without direct access to the network | 5 | D
43 | Monitoring & Logging | 2 | No | E | The technical solution for logging must include at least: • The solution must be able to generate log events via standard methods and comply with Faroese legislation • To ensure the integrity of log data, it must be possible to dynamically transport log data via pull/push to a secondary system • The solution must offer the possibility for the Customer to define how long log data is stored electronically • Log data must be stored for a minimum of 12 months • Logging user behavior in the system, including for example searches, printing, data entry/deletion, lookups, documentation, and login • The solution must protect log data against unauthorized access, modification and deletion • The solution's logs must not be modifiable • If the Solution logs an Error, any corrections to this Error must be reflected in subsequent logs • Access to the Solution's logging facility must be logged | 4 | D
44 | Monitoring & Logging | 2 | No | E | The Supplier must provide specifications for the Solution’s logging facilities and include an estimate of the disk space required to store log data generated by the Solution. | 4 | D
45 | Monitoring & Logging | 2 | No | E | Solutions must support standard monitoring methods (SNMP, SYSLOG, WMI) and provide relevant event and performance data. | 3 | C
46 | Monitoring & Logging | 2 | Yes | E | The Solution must integrate with the central monitoring solution (currently SolarWinds – may be changed in the near future), supporting SNMP, SYSLOG, and / or agent-based monitoring. | 4 | C
47 | Monitoring & Logging | 2 | Yes | E | The Solution must include automated monitoring and auditing of access logs, with alerting for anomalous access. The design and implementation of these functionalities is to be agreed upon during the clarification phase. | 4 | C
48 | Monitoring & Logging | 2 | No | E | The Supplier must describe the monitoring and logging design for the Solution, including: • Components/layers to be monitored (infrastructure, platform, application, database, integrations, etc.) and the consequences of faults per component. • Typical critical measurement points (CPU, memory, disk, I/O, network, latency, error rate, queue depth, certificate expiry, scheduled jobs, backup status, etc.). • Typical threshold/limit values (warning/critical) and the expected impact of threshold breaches on the established Service Objectives in Appendix 7. • Data collection requirements and data types (metrics/logs/traces/events) and relevant collection methods/protocols (e.g., agent/API/SNMP where relevant). | 4 | C
49 | Monitoring & Logging | 2 | No | E | The Supplier must provide specifications for the setup of operational monitoring for the Solution. This includes monitoring established during implementation and a description of the requirements for a future operations supplier and how correctness is verified, including: • Setup specifications (dashboards, alert rules, log collection, tracing etc). • Verification/acceptance criteria (alarm tests, failover/negative tests etc). • Handover deliverables (runbooks, access/roles, operational documentation). These documents will be discussed in the clarification phase. | 3 | C
50 | Monitoring & Logging | 2 | No | E | The Supplier must describe requirements for a future hosting/operations supplier to operate monitoring and logging in accordance with good practice, including: • Monitoring of integrations to/from other systems (availability, latency, throughput, error handling, timeouts, message queues, certificates). • Alarm/warning capabilities with different severity levels, routing/on-call, and integration with ticketing/ITSM. • Escalation procedures/processes for operational incidents (classification, response, communication, major incident handling). • Operational error handling and correction procedures (runbooks, rollback/hotfix approach, root cause analysis). • Compliance with defined threshold/limit values and required initiatives to maintain compliance (capacity management, tuning, scaling). • Documentation and follow-up for incidents/outages (post-incident reports, trend analysis, continuous improvement). • Processes for ongoing development of the Operations Platform (change management, improvement backlog, regular review of thresholds/alerts). These documents will be discussed in the clarification phase. | 3 | C
51 | Security | 2 | No | E | The supplier shall describe how the Solution is designed to integrate with and operate under the Client’s existing anti-vuris solution in practice. Including technical dependencies, specifications and any requirements for server setup and sizing and management and monitoring of processes and routines. | 3 | D
52 | System Management | 2 | No | E | The supplier must provide specifications for how the Solution's System Management can be built and implemented in practice. Including specifications and requirements for server set-up and sizing as well as management and monitoring of processes and routines. These documents will be discussed in the clarification phase. | 3 | C
53 | Technical Solution Design | 2 | No | E | The Supplier must provide descriptive material, requirements, specifications and overview materials of the Solution's technical design and set-up so that a future operations supplier is able to build the Operations Platform and subsequently operate the Solution. These documents will be discussed in the clarification phase. | 5 | C
54 | Technical Solution Design | 2 | No | E | The solution must be built on modern, maintainable technology to avoid technical obsolescence and enable continuous updates. | 5 | C
55 | Device Management | 2 | No | E | The Solution must be able to receive data from medical-technical equipment (e.g., ultrasound scanners and intensive care monitoring) through a medical device integration platform. A description is requested on how this can be achieved. The Supplier must also provide a complete list of all medical devices currently integrated with the Solution, including the specific technologies, standards, or protocols used for each integration. | 2 | D
56 | Device Management | 2 | No | E | The Supplier must provide requirements, specifications and descriptive material of the Solution's technical design for printing and print management. These documents will be discussed in the clarification phase. | 2 | C
57 | Monitoring & Logging | 2 | No | E | The system must support report export for audits, regulatory requirements, and journal access. | 4 | C
58 | Monitoring & Logging | 2 | Yes | E | The system shall support proactive detection and follow-up on potential misuse of patient records, including cases involving specific patients (e.g., VIP patients). Proactivity shall include automated alerts or visual indicators, such as highlighting the case on a dashboard when misuse is detected. Misuse shall be defined by a configurable set of editable rules, including but not limited to: • Accessing records of specific patients. • Performing searches outside the user’s department • Searching for patients residing near the user’s location The design and implementation of these functionalities is to be agreed upon during the clarification phase. | 4 | C
59 | Security | 2 | No | E | The Supplier must provide specifications for how data integrity in the Solution is met, including in particular the Solution's mechanisms for protecting and ensuring the authenticity of data in data communication and exchange internally in the Solution and when integrated with other systems. This must include the Solution's use of certificates and encryption mechanisms as well as the protection and lifespan of encryption keys throughout their entire lifecycle | 3 | D
60 | Security | 2 | Yes | E | The supplier must provide specifications for how the Solution's system hardening can be built and implemented in practice, and how system hardening is to be performed in accordance with procedures with the new Solution. These documents will be discussed in the clarification phase. | 2 | C
61 | Business Intelligence | 2 | No | E | Supplier must implement role based access and audit logging for BI access ensuring GDPR (Faroese) compliance. | 4 | C
62 | Training | 4 | yes | E | The Supplier will deliver the training material used in the training modules relevant to the Delivery. The material must be delivered to the Client during the Clarification Phase. | 2 | C
63 | Training | 4 | yes | E | The Supplier will deliver all training material in electronic form. The Client must be able to edit and freely reproduce the material. | 2 | C
64 | Documentation | 4 | yes | E | The supplier shall comply with Appendix 4: Documentation | 4 | C
65 | Maintenance&Support | 5 | Yes | E | The supplier must comply with Appendix 5 Maintenance and support | 5 | C
66 | Maintenance&Support | 5 | No | M | The main language in the support organization is Faroese, but Danish or English may be used by the supplier. Other languages may not be used in relation to the support organization. | 5 | C
67 | Maintenance&Support | 5 | Yes | E | What requirements does the Supplier set for the education of the Client's employees in the support organization, including specifying scope, content, and any professional prerequisites? | 2 | D
68 | Maintenance&Support | 5 | Yes | E | At what times and with what competencies must the Client’s support organization be available to the Supplier in relation to the Supplier’s compliance with service level targets for resolution time, see appendix 5 and 7. The need must be specified per day for a week with 5 weekdays and a weekend. | 2 | D
69 | Maintenance&Support | 5 | Yes | E | Based on appendix 5 and 9: How many employees does the Supplier assume are needed in the Client’s support organization, divided between regular opening hours (weekdays from 8:00–15:30) and outside regular opening hours, cf. above. The need must be specified per day for a week with 5 weekdays and a weekend. | 2 | D
70 | Maintenance&Support | 5 | Yes | E | The supplier must describe the optimal process for collaboration, from Error identification, registration, error categorisation, prioritisation to a final patch or workaround is ready for implementation. This includes the process for preventive maintenance, change requests and software assurance, as well as their expectations regarding the client’s contribution. | 3 | D
71 | Maintenance&Support | 5 | Yes | E | The Supplier must describe how the support organization will be phased in according to the schedule in appendix 1, including specifying how many support staff are needed as the Solution is rolled out. | 2 | D
72 | Maintenance&Support | 5 | No | E | User management like reset of password can happen in a decentralised manner, where overview of local users, reset of passwords etc can be supported in the system. | 4 | C
73 | service level | 5 | yes | E | The Supplier must describe how they will handle incident handling to ensure optimal operations and minimize process disruptions | 3 | D
74 | Maintenance&Support | 5 | yes | E | Troubleshooting and reproduction of errors can often be difficult for the client to do. The supplier must describe a best practise approach to minimise risk and reproduction of errors can be conducted efficiently between the client and the supplier. | 2 | D
75 | Maintenance&Support | 5 | Yes | E | The IT department of Landssygehuset uses ManageEngine Servicedesk, which can be used also for EMR support. The supplier can also provide a case management system for communication with the client. The supplier must describe their preference and how a transparent and logic case handling process can look like with minimal registration or transfer from one system to another. | 2 | D
76 | Maintenance&Support | 5 | No | E | The supplier must comply with the categorizations of incidents and problems described in appendix 7 and describe a preferred urgency/impact model which can be applied into the support process. | 2 | D
77 | Maintenance&Support | 5 | Yes | E | The supplier must provide examples of what a change request scenario might look like in practice, taking into account the client’s support organization as described in Appendix 5, Section 3.1. The scenario must include information about the request form, workflows related to this from both the client’s and the supplier’s side, as well as the change log and change control. | 3 | D
79 | Digitalisation | 6 | Yes | E | The Solution must support secure digital communication between the Solution and citizens via MínBoks, using the Heldin infrastructure, as described in Appendix 6. The Supplier is required to integrate MínBoks with the Solution, and must be available to facilitate and cooperate with third parties to ensure that the full functionality as described in Appendix 6, is functional: 1) Digital delivery of letters and results to citizens via MínBoks 2) Continued use of the print and pack service of physical mail (in collaboration with local vendors) in cases where: 2.1) The patient does not have MínBoks 2.2) The digital mail has remained unread beyond a defined period or, 2.3) If the letter must only be sent via physical mail Healthcare professionals must be informed and recieve confirmation within the Solution whether the letter has been succesfully delivered to MínBoks, delivery has failed or remains unread and if it needs to be handled via physical mail. No further action should be required from healthcare professionals within the Solution. | 5 | C
80 | Digitalisation | 6 | Yes | E | The Supplier shall describe how the Solution can support video consultation functionality between healthcare professionals and citizens, as described in Appendix 17 section 1.4. The description must at least include a high-level understanding of the workflows and processes from the perspective of clinical staff and citizens, and provide a proposed approach for integration with Viðtalur and Vangin, or an alternative solution(s) where these provide clear benefits and equivalent or greater value. | 4 | D
81 | Digitalisation | 6 | Yes | E | The Supplier must describe how the Solution supports citizen access, capabilities, and self-service functions as outlined in Appendix 17, Section 1.4. The description must: • Explain the supplier’s proposed approach to supporting citizen access and interaction • Describe the self-service capabilities offered (e.g. viewing health records, booking appointments, submitting requests, communicating with healthcare professionals) • Provide a high-level overview of the workflows and processes from the perspective of both citizens and healthcare professionals, showing how these interactions integrate with clinical operations • Demonstrate an understanding of the current landscape and anticipated future developments, and explain how the proposed Solution aligns with these plans • Highlight any innovative features or enhancements that improve citizen engagement and experience • Include any limitations or dependencies that may affect citizen access or self-service functionality | 4 | D
82 | Digitalisation | 6 | No | E | The Supplier must describe their plans and roadmap on how the system can support AI functionality both within the solution and by sharing healthcare data with 3rd party AI providers through integrations. | 2 | D
83 | Digitalisation | 6 | No | E | The solution must align with the national digitalization strategy and support coherent digital services for citizens and healthcare providers. See Sub-Appendix 6A | 3 | C
84 | service level | 7 | yes | E | The Supplier must comply with appendix 7 service levels | 5 | C
85 | legal | 7 |  | E | The Supplier and client should establish a baseline/KPI for the solution's "end-user" performance before the end of the clarification phase. Current status related to the established baseline will be monitored over time. Describe how this can be conducted and how monitoring can be automated. | 4 | D
86 | Security | 8 | No | M | The Solution must be compliant with the Faroese equivalent of NIS2 and the Faroese specific requirements documented in the cyber security act (appendix 8). The Supplier is responsible for finding, translating and understanding the requirements documented in the Cybersecurity Act. This legislation has not yet passed however, the Supplier must ensure alignment with overall direction of the act. | 5 | C
87 | Legal | 8 | No | M | Data generated or stored by the Solution is owned by the Client and must be retrievable in open, non-proprietary formats. | 5 | C
88 | Strategy and Collaboration | 9 | Yes | E | The supplier is asked to describe how they will support that the supplier’s employees can contribute to knowledge sharing within and between the Parties’ organizations and ensure joint learning, e.g., regarding best practices. | 2 | D
89 | Strategy and Collaboration | 9 | No | E | The supplier is asked to describe how they will specifically support that there is a focus on user-friendliness and user satisfaction. | 3 | D
90 | Strategy and Collaboration | 9 | Yes | E | The supplier is asked to describe a model and process for how the Faroe Islands can participate in a joint development and experience-sharing community with other clients in the Nordic region. | 2 | D
91 | Strategy | 9 | Yes | E | The Supplier must comply to Appendix 9 | 5 | C
92 | Strategy | 9 | Yes | E | The Supplier shall describe its approach to establishing and continuously developing a binding long-term strategic collaboration. | 5 | D
93 | Strategy | 9 | Yes | E | The Supplier shall describe how it will contribute to ensuring that the principles of collaboration are adhered to and translated into practice within the cooperation and how the supplier will facilitate between existing clients | 4 | D
94 | Strategy | 9 | Yes | E | The Supplier shall outline models for how the Client and the Supplier, through cooperation, can meet future needs and unforeseen challenges. | 5 | D
95 | Strategy | 9 | Yes | E | The Supplier must describe how their staffing is composed in all phases and at all levels, including CVs of key personnel who will participate in the phases. | 5 | D
96 | Strategy and Collaboration | 9 | yes | E | The Supplier must describe its method for gaining knowledge of the Faroese healthcare system, including strategies and tools for achieving business understanding. | 2 | D
97 | Strategy | 9 | yes | E | The Supplier must describe an organization of the Programme at strategic, tactical, and operational levels, cf. the Supplier’s method(s) for implementation that support the execution of the Programme. | 4 | D
98 | Organisational | 9 | No | E | The Supplier must describe the process for determining the division of responsibilities between the Supplier, a future hosting supplier, and a future operating supplier for the daily operation and maintenance of the Solution. This description must include: • The criteria and approach for defining responsibilities among the parties, with the final allocation to be confirmed during the Clarification Phase • The requirements for the future hosting supplier regarding the number of resources (calculated in annual FTE) and the specific competencies needed to host and support the Solution • The requirements for the future operating supplier regarding the number of resources (calculated in annual FTE) and the specific competencies needed to maintain and operate the Solution • The competence-building activities to be carried out by the future operating and/or hosting supplier, and how their competencies will be maintained on an ongoing basis, particularly in relation to changes in the overall Solution These documents will be discussed in the clarification phase. | 3 | C
99 | Strategy | 9 | Yes | E | The Supplier must describe how they will support the Customer’s vision and strategic focus areas, as well as a roadmap for the solution and how the improvements expected can be achieved. See Sub-Appendix 9A | 3 | D
100 | Strategy | 9 | Yes | E | The Supplier must describe how they will support the health policy and the future development of the healthcare system. See Sub-Appendix 9B | 3 | D
101 | Data Migration Strategy | 10 | No | E | The supplier shall submit a proposal for data migration in accordance with Appendix 10. Pricing for data migration shall be provided using Appendix 11a The proposed price must exclude any costs related to the current supplier, including but not limited to: - Extraction of data from the existing system, - Assistance, consultancy, or other involvement from Cambio. - Any licensing or service fees charged by the current supplier in connection with the data migration. The offer shall be based solely on the Supplier’s own activities, tools, and responsibilities related to data migration. | 3 | D
102 | Test | 12 | yes | E | The supplier must comply with appendix 12 test | 5 | C
103 | Test | 12 | yes | E | The supplier shall explain how they will test the usability of the solution | 4 | D
104 | Test | 12 | yes | E | If the Client requests security or hosting environments to be tested by a third-party, the Supplier must actively support this process by collaborating, facilitating, and coordinating with the Client and the designated third-party. | 2 | C
105 | Test | 12 | yes | E | The supplier shall prepare the first draft of the test strategy they expect to implement within the Faroese healthcare system during the implementation period. | 4 | D
106 | Test | 12 | yes | E | The supplier must describe their approach to automated testing including automation test tools provided | 3 | D
107 | Risks | 15 | yes | E | The Supplier must provide a detailed description of its method and tools for handling and mitigating the Programme’s complexity and risks. | 4 | D
108 | Proactive initiatives | 15 | yes | E | The supplier shall comply with Appendix 15: Proactive initiatives | 4 | C
109 | Maintenance&Support | 16 | No | E | The supplier must comply with Appendix 16 | 2 | C
110 | Technical | 17 | No | E | The solution must be able to use standard message formats and business rules adopted by MedCom, http://svn.MedCom.dk/svn/releases/Standarder/. | 3 | C
111 | Technical | 17 | No | E | As the standard message formats adopted by MedCom (jf. http://svn.MedCom.dk/svn/releases/Standarder/) is updated, the Supplier must support new versions of the format, so that the Solution can use them no later than 6 months after the update. | 3 | C
112 | Business Intelligence | 17 | No | E | Supplier must support open standards (eg. HL7 FHIR, REST APIs, ODBC/JDBC) for BI connectivity. | 3 | C
113 | Integration | 17 | Yes | E | Supplier must confirm all existing integrations and jump-outs, ensure pricing and implementation of listed minimum integrations and jump-outs in appendix 17, and facilitate cooperation around integration with third-party vendors through the integration platform. Integration methodology will be defined during clarification phase and should aim for automation and compliance with new standards. | 3 | C
114 | Integration | 17 | No | E | Supplier must ensure compliance with international standards (e.g. IHE, HL7 FHIR, HL7v2, DICOM, Medcom) and secure protocols. | 5 | C
115 | Integration | 17 | Yes | E | The supplier must provide monitoring and error‑handling capabilities for integrations within the supplier’s solution. The solution must expose relevant logs, status information, and error messages to enable monitoring and handling in the customer’s integration platform. The supplier is not required to implement monitoring within the integration platform itself. | 3 | D
116 | Integration | 17 | No | E | Supplier must integrate to the danish healthcare system using relevant Medcom standards via Sundhedsdatanettet | 4 | C
117 | Integration | 17 | Yes | E | Pharmacy integration will be developed/ re established as part of the new solution. The exact use cases and required functionality will be defined during the clarification phase, and must be confirmed with both THS and the Pharmacy in the Faroe Islands during that phase. | 4 | C
118 | Integration | 17 | No | E | Supplier must provide comprehensive documentation for datamapping, transformation rules, version control for all HL7/FHIR interfaces and all interfaces, including test and education environments and operational status. To ensure consistency and interoperability across systems. | 3 | C
119 | Integration | 17 | No | E | Supplier must define fallback methods for critical integrations (e.g., FHIR unsupported, pharmacy outage) to ensure continuity of operations. | 3 | D
120 | Integration | 17 | Yes | E | The Solution must support configurable management of URLs used for manual integrations and user-facing links (e.g. jump-outs to external systems), including existing links from the current COSMIC setup (see Appendix 17). Changes must be possible without redevelopment of the Solution. | 3 | C
121 | Integration | 17 | No | E | The integration layer must provide techincal message-level logging and monitoring (including status, latency, and errors) via standard interfaces such as REST APIs or SYSLOG, and integrate with the central monitoring solution (currently SolarWinds – may be changed in the near future). | 3 | C
122 | Integration | 17 | No | E | All external HL7 and FHIR communication must be encrypted and use secure authentication | 3 | C
123 | Integration | 17 | No | E | The supplier must test and validate that HL7/FHIR messages and APIs follow the required standards. | 3 | C
124 | Integration | 17 | Yes | E | The Supplier must be available and provide input regarding the design of the future integration platform that will be implemented by the Client | 3 | C
125 | Digitalisation | 17 | Yes | E | The Supplier must ensure connectivity with national platforms and describe how the Solution will make citizen health data available via Vangin, as described in Appendix 17, section 1.4 | 4 | D
126 | Digitalisation | 17 | Yes | E | Any functionality or integrations related to citizen-facing platforms/services (Appendix 6) must be included in the Project Implementation Plan in Appendix 1, showing proposed phases, delivery locations, and any partial deliveries. This plan will serve as the basis for negotiation meetings and will be refined in detail during the Clarification Phase. | 3 | C
127 | Functional | 18 | No | M | The solution shall be able to use and handle P-tal (and substitution P-tal) as patient ID | 5 | C
128 | Functional | 18 | No | M | P-tal and/or CPR shall be shown in all screens regarding a patient (Legal purposes). | 5 | C
129 | Functional | 18 | No | M | The Solution shall support that the health professionals can use P-tal/substitution P-tal as unique key in all look ups/searches/registrations on patients/citizens in the provided Solution | 5 | C
130 | Functional | 18 | Yes | E | It shall be possible for all clinician with relevant access rights to see basic information on the patient (stamkort) including information on previous contact dates and sites, address, contact information on next of kin | 4 | C
131 | Functional | 18 | Yes | E | The Solution shall be able to handle SKS (Sundhedsvæsenets Klassifikationssystem, including ICD), ICPC, Fællessprog III and SOR (Sundhedsvæsenets Organisationsregister DK) | 4 | C
132 | Functional | 18 | Yes | E | The Supplier shall ensure that the classifications in use are updated. Updates must be coordinated with the client. | 3 | C
133 | Functional | 18 | No | E | The data in the Solution is updated in real time, i.e. all registrations are visible immediately and will not require any further action from the user or the system | 5 | C
134 | Functional | 18 | No | E | It must be possible to make retrospective registration with an indication of the time of the activity | 5 | C
135 | Functional | 18 | No | M | It must be possible to make corrections to the patient record, but it must only be done in such a way that the original text must continue to be available. It must be clear who made the correction and when it was made (Legal purposes) | 5 | C
136 | Functional | 18 | Yes | E | The Solution must support that it is only is health personnel with a treatment relationship that have access to patient data. The method of establishing treatment relationship must be defined during the clarification phase. See also requirement 27. | 4 | C
137 | Functional | 18 | No | E | Healthcare professionals can delegate tasks and access to medical records to helpers | 4 | C
138 | Functional | 18 | No | E | The Solution shall support that in emergency situations it is possible to 'break the glass' and gain access to patient data with subsequent documentation of the need | 5 | C
139 | Functional | 18 | Yes | E | It must be possible to configure various user interfaces for different functions and /or professionals | 4 | D
140 | Functional | 18 | Yes | E | It shall be possible in the user interface to present information from various sources i.e. from the lab system/image system or other clinical/paraclinical system with an integration, when relevant it shall be possible to show data in a graphic way | 4 | D
141 | Functional | 18 | Yes | E | The solution must when relevant be able to present data graphically. The supllier must provide examples of this. | 3 | D
142 | Functional | 18 | No | M | The solution must support the use of Western European character sets including Faroese and Danish | 5 | C
143 | Functional | 18 | No | M | The solution shall support the fulfilment of the Faroese law on clinical record keeping (Bekendtgørelse for Færøerne om autoriserede sundhedspersoners patientjournaler) - and other relevant laws like the Faroese Health law. See appendix 8. | 5 | C
144 | Functional | 18 | Yes | E | The solution shall come with a number of standadized documentation templates and forms according to Sub Appendix 18i | 4 | D
145 | Functional | 18 | Yes | E | It shall be possible for the client's IT-organization to establish new documentation templates and forms in the Solution | 4 | D
146 | Functional | 18 | Yes | E | Each Patient in the solution shall have a 'stamkort' (master record) that can be accessed by all who have access to the patients information. Stamkort shall include information like contact infomration, Next of kin, previous diagnosis, allergies etc. | 3 | C
147 | Functional | 18 | yes | E | The solution must serve as the main clinical communication between health professionals on the Faroe Islands | 4 | C
148 | Functional | 18 | Yes | E | The Supplier must describe how documents are stored, managed, and accessed within the Solution. This shall include support for healthcare professionals to upload and attach documents (e.g. PDF files) from local devices to a patient journal, as well as how such documents are subsequently accessed and used within clinical workflows. | 2 | D
149 | Speech Recognition and Digital Dictation | 18 | No | E | The Supplier must describe how the Solution supports speech recognition and dictation. The description must include at least the following: 1) Whether dictation and speech recognition are provided natively or via integration 2) Where in the Solution speech recognition is possible 3) Supported use cases (e.g. clinical notes, administrative content) 4) Supported devices (e.g. dictaphones, headsets, tablets, smartphones) 5) How speech input is captured, edited, corrected, and stored in the Solution 6) Any dependencies on external components or services 7) Options available for navigating freely in the Solution using voice commands | 3 | D
150 | Speech Recognition and Digital Dictation | 18 | No | E | The Supplier must describe what language is supported in the Solution for dictation and speech recognition, including: 1) Current language support for dictation and speech recognition, including Faroese and Danish (if available) 2) Known limitations related to Faroese language support, accuracy or clinical usability 3) Any planned roadmap or partner strategy for improved Faroese language support, including AI-based speech recognition 4) How language models, dictionaries, or recognition quality can be adapted or improved over time 5) Support for common characters as stated in the Faroese and Danish spelling dictionary | 3 | D
151 | Speech Recognition and Digital Dictation | 18 | No | E | The Supplier must describe their plans and roadmap on how the system can support AI‑enabled ambient scribe functionality, allowing automated capture, transcription, and structuring of clinician–patient interactions into clinical documentation. The system must enable secure integration with approved AI services and allow clinicians to review, edit, and approve all AI‑generated notes before final storage. | 2 | D
152 | Digitalisation | 18 | No | E | The Supplier must describe how the Solution supports users with cognitive reading, writing, and visual difficulties. | 2 | D
153 | Legal | 19 | yes | E | The supplier must comply with appendix 19 liquidated damages and incentives | 5 | C
154 | Business Intelligence | 20 | Yes | E | Supplier must provide intuitive reporting tools for operational needs as outlined in Appendix 20 | 4 | D
155 | Business Intelligence | 20 | Yes | E | Supplier must ensure centralized, secure data repository with shadow database for BI and external integrations as outlined in Appendix 20 | 4 | D
156 | Business Intelligence | 20 | Yes | E | The supplier must provide data to the BI and data repository solution on a daily basis. In addition, selected data must be made available near real time. The supplier must ensure that changes to data structures, formats, or content are managed, documented, and communicated so that reporting and integrations are not disrupted. | 3 | C
157 | Business Intelligence | 20 | No | E | The supplier must confirm that the BI solution can handle large data volumes and many users at the same time, while maintaining acceptable performance. The solution must be scalable to support growth in data and users over time. | 3 | C
158 | Business Intelligence | 20 | Yes | E | The Supplier shall deliver a proposal for unified contact model as a prerequisite for meaningful reporting and analytics. The Supplier’s proposed model shall take the Danish LPR3 contact model as the primary reference. The Supplier shall describe and justify the proposed approach (including any deviations from the LPR3 reference model) in collaboration with the Faroese healthcare system to ensure consistent and comparable reporting outputs. | 4 | D
159 | Business Intelligence | 20 | No | E | The supplier shall descripe how the proposed BI functionality in the solution alligns with the clients vision for BI and advanced analytics, as outlined in the BI appendix 20. | 3 | D

## Flow requirements
Requirement ID | Primary area | Appendix supported | Negotiation | Type (M, E) | Requirement specification | Weight | Requirement fulfilled entirely | Requirement partly fulfilled | Requirement can not be fulfilled | Answer from Supplier
F1 | Functional | 18a | Yes | E | The supplier must support the patientflow described and illustrated in Sub-Appendix 18A - The Pregnant Woman | 5
F2 | Functional | 18b | Yes | E | The supplier must support the patientflow described and illustrated in Sub-Appendix 18B - Child With Rare Genetic Condition | 5
F3 | Functional | 18c | Yes | E | The supplier must support the patientflow described and illustrated in Sub-Appendix 18C - Breast Cancer Patient | 5
F4 | Functional | 18d | Yes | E | The supplier must support the patientflow described and illustrated in Sub-Appendix 18D - The Chronically Ill Patient With Multiple Conditions | 5
F5 | Functional | 18e | Yes | E | The supplier must support the patientflow described and illustrated in Sub-Appendix 18E - The Acutely Ill Patient | 5
F6 | Functional | 18f | Yes | E | The supplier must support the patientflow described and illustrated in Sub-Appendix 18F - The Psychiatric Patient | 5
F7 | Functional | 18g | Yes | E | The supplier must support the patientflow described and illustrated in Sub-Appendix 18G -Nursing Home Resident With Multiple Chronic Conditions | 5
F8 | Functional | 18h | Yes | E | The supplier must support the workflow described and illustrated in Sub-Appendix 18H - Medication Management | 5

## Aux (hidden)
Delivery platform | Yes
Cloud | No
On-Prem
NA